## Slide 1
Utility Use & Cost Analysis and Estimated Avoided Costs
July 23, 2015
Bill Eger
Energy Manager
City of Alexandria
Public Safety Center
Energy Performance Assessment

## Slide 2
Office of Energy Management – Business Units
Utility Acquisition, Billing, & Analysis
Utility resource acquisition & contracting
Billing receipt & payment on behalf of City
Performance Analysis & Reporting
City Operations Energy Management
Energy efficiency, renewable energy, and fuel reductions for City facilities, operations (i.e. parks), and fleet
High-performance building design
Electrical Infrastructure Management
Analysis, diagnostics, design, project management for City facility & operations electrical systems and infrastructure
Community Energy Management
Community energy efficiency programs, education, & outreach
Neighborhood/Small Area Planning
Green Building Policy administration
Eco-City Alexandria/EAP implementation
Energy Assurance & Reliability
Emergency Generator program
ESF-12
Regulatory & Policy Affairs
Consumer advocate for regulatory (SCC) proceedings
Federal, state, and local energy policy

## Slide 3
5-year (FY) Total Utility Cost Trend
Chart: 
| 2011 | 2012 | 2013 | 2014 | 2015
Elec | 275351.77 | 325438.3 | 297827.13 | 292337.12 | 283923.74
Nat Gas | 123494.96 | 165866.01 | 150622.06 | 137391.34 | 91127.43
Sewer | 0 | 0 | 93318.77 | 132953.68 | 141916.33
Water | 186895.94 | 194034.37 | 104793.22 | 68752.46 | 71539.88
Chart: 
| 2011 | 2012 | 2013 | 2014 | 2015
Elec | 0.47009 | 0.47486 | 0.46063 | 0.46297 | 0.48245
Nat Gas | 0.21083 | 0.24202 | 0.23296 | 0.21759 | 0.15485
Sewer | 0 | 0 | 0.14433 | 0.21056 | 0.24115
Water | 0.31908 | 0.28312 | 0.16208 | 0.10888 | 0.12156

## Slide 4
5-year (FY) Total Electricity Use Trend
Chart: Electricity Use (kWh)
| 2011 | 2012 | 2013 | 2014 | 2015
Use (kWh) | 4848480 | 5043600 | 4718160 | 4776480 | 4633200
Chart: Average Daily Electricity Use (kWh/day)
| 2011 | 2012 | 2013 | 2014 | 2015
Avg Daily Use (kWh/Day) | 13348.49 | 13833.6108 | 12929.6858 | 13010.635 | 12707.585
Chart: Average Demand (kW)
| 2011 | 2012 | 2013 | 2014 | 2015
Average Demand (kW) | 789.25 | 762.6667 | 710 | 750.7167 | 751.6083
Chart: 
| 2011 | 2012 | 2013 | 2014 | 2015
Cost ($) | 275351.77 | 325438.3 | 297827.13 | 292337.12 | 283923.74

## Slide 5
Electricity Billing – Administrative, Demand, & Energy Costs
Chart: 
| 2011 | 2012 | 2013 | 2014 | 2015
Administrative | 0.0035036 | 0.0029432 | 0.0032303 | 0.0032935 | 0.0038678
Demand | 0.351 | 0.32557 | 0.3661 | 0.40609 | 0.42488
Energy | 0.6455 | 0.67148 | 0.63067 | 0.59061 | 0.57126

## Slide 6
5-year (FY) Electricity Price Trends – Average & Avoided Price
Fiscal Year | Average Unit Cost ($/kWh) | Avg Avoided Cost of Demand ($/kW) | Avg Avoided Cost of Energy ($/kWh)
2011 | $ 0.0570 | $ 10.43 | $ 0.0342
2012 | $ 0.0646 | $ 11.99 | $ 0.0411
2013 | $ 0.0632 | $ 13.22 | $ 0.0373
2014 | $ 0.0614 | $ 13.61 | $ 0.0339
2015 | $ 0.0615 | $ 13.84 | $ 0.0329

## Slide 7
5-year (FY) Total Natural Gas Use Trend
Chart: Nat Gas Use (therms)
| 2011 | 2012 | 2013 | 2014 | 2015
Use (therms) | 113367 | 158093.5 | 178908 | 191947 | 138179
Chart: Avg Daily Nat Gas Use (therms/day)
| 2011 | 2012 | 2013 | 2014 | 2015
Avg Daily Nat Gas Use (therms/day) | 312.2425 | 425.4592 | 487.2292 | 523.3475 | 380.3811
Chart: 
| 2011 | 2012 | 2013 | 2014 | 2015
Cost ($) | 123494.96 | 165866.01 | 150622.06 | 137391.34 | 98081.43

## Slide 8
Natural Gas Billing – Administrative, Distribution, & Commodity Costs

## Slide 9
5-year (FY) Natural Gas Price Trends – Average & Avoided Price
Fiscal Year | Average Unit Cost ($/kWh) | Avg Avoided Cost of Distribution ($/kW) | Avg Avoided Cost of Commodity ($/kWh)
2011 | $ 1.116 |  | 
2012 | $ 1.048 |  | 
2013 | $ 0.892 | $ 0.370 | $ 0.522
2014 | $ 0.720 | $ 0.198 | $ 0.522
2015 | $ 0.711 | $ 0.189 | $ 0.522

## Slide 10
Use & Cost Savings Methodology

## Slide 11
Use & Cost Savings Results
 | FY2014 | FY2015 | Difference | Estimated Avoided Costs ($)
Natural Gas* | 195,565 | 181,880 | 13,685 | $ 9,730
Electricity | 4,729,657 | 4,589,399 | 140,258 | $ 8,626
* Under estimation of natural gas avoided costs due to data concerns

## Slide 12
Weather-Independent vs. Weather Dependent
 | Weather-independent | Weather-dependent
Electricity | 92% | 8%
Natural Gas | 55% | 45%
Chart: 
| Weather-independent | Weather-dependent
Electricity | 0.9202 | 0.079796
Chart: 
| Weather-independent | Weather-dependent
Natural Gas | 0.54919 | 0.45081

## Slide 13
5-year (FY) Electricity Load Factor Analysis

## Slide 14
Upcoming Opportunities
AHU & ERU Replacement and Ventilation
Lighting
Re-commissioning & Control System Review
Demand Response
Working with Alexandria Sheriff’s Office employees

## Slide 15
Next Steps